| Area/Activity Assessed | School premises, Classrooms, Communal Walkways, Service cupboards, Hall and Offices | Date | 8th January 2026 |
| --- | --- | --- | --- |
| Assessment Completed By | John Addison MBHS | Person(s) Consulted | Darren Davies and Janette Cooper |

| Persons Exposed | Employees |  | Contractors |  | Young Person |  | Expectant Mother |  | Visitors and/or Public |  | Trespassers |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Frequency of Exposure | Continually |  | Hourly |  | Daily |  | Weekly |  | Monthly |  | Yearly |  |
| Duration of Exposure | Less than 1hr |  | 1-2 hrs |  | 3-4 hrs |  | 5-6 hrs |  | 7-8 hrs |  | More than 8 hrs |  |

| Probability (Prob) | 5= Very Likely, 4= Likely, 3= Quite Possible, 2= Possible, 1= Unlikely | Low | 0-8 | Low risk no action required |
| --- | --- | --- | --- | --- |
|  |  | Medium | 9-15 | Medium risk ensure adequate controls are in use |
| Severity (Sev) | 5= Catastrophic, 4= Major, 3= Moderate, 2= Minor, 1= Insignificant | High | 16-25 | High risk stop operation and implement adequate control measures |

This Risk Assessment and identified Control Measures has been established following consultation with Management, Supervisory and Operational staff

Staff acknowledgment as to their understanding of the control measures to be applied is included as the last page to this document

| Hazard |  | Initial |  |  | Existing Control Measures | Residual |  |  | Additional Controls |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sev | Prob | Risk |  | Sev | Prob | Risk |  |  |
|  | Unauthorised access to the premises Staff/pupils and visitors could suffer severe personal injury or worse as a result of trespassers or unauthorised personnel gaining access to working areas | 3 | 4 | 12 | All entrance doors have suitable security locks in place and are secured when not in use. Fence around school for safeguarding of pupils, gates are locked where necessary. Details in reception of parents who are not allowed into school. Access keys are controlled by the management team and or designated key holders Visitors are required to report to reception and sign in to a register. All visitors are accompanied throughout the building at all times, unless their DBS records have been produced and verified. All visitors are required to sign in/out and if working on the site produce ID and or have a DBS check in place and be able to provide disclosure number for the data base or photo ID badge. The care takers office and boiler rooms are locked at all times unless the caretaker is present. All visitors are accompanied throughout the building at all times. | 3 | 2 | 6 |  |  |

| Hazard |  | Initial |  |  | Existing Control Measures | Residual |  |  | Additional Controls |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sev | Prob | Risk |  | Sev | Prob | Risk |  |  |
|  | Fire / explosion Staff/pupils and visitors could suffer from smoke inhalation, burns or worse if trapped in the premises | 5 | 3 | 15 | The school, as the “responsible person” ensures a specific fire risk assessment is completed in line with legislative requirements (Regulatory Reform (fire safety) Order 2005). The assessment considers the provision of preventative measures, means of raising the alarm, staff training and provision of firefighting equipment. Heating system (gas boiler) subject to on-going maintenance programme by appointed Gas Safe contractor (SpaGas) Smoking prohibited in or around the building in line with current legislation | 5 | 1 | 5 |  |  |
|  | Slips, trips and falls Staff/pupils and visitor’s personnel could suffer personal injury as a result of falling as a result of the premises flooring being in poor condition | 4 | 3 | 12 | All staff are aware of the need for good housekeeping throughout the premises. This ensures that all access routes, walkways and general floor areas are kept free from obstructions and potential trip hazards. Specific classroom assessments have been carried out. Stairs throughout the premises are in good condition and have appropriate handrails. All access routes, walkways and general floor areas are suitably illuminated using an appropriate level of lighting. Appointed cleaning contractor maintains the school on a daily basis including the cleaning of floor surfaces. Floor surfaces of the premises areas are subject to on-going visual inspections by all employees throughout the working day. Designated walkways have been established where appropriate and all employees are aware that they must remain free from obstruction. Designated walkways are kept clear and free from obstructions at all times. Storage is not permitted in any designated walkway. | 4 | 1 | 4 |  |  |
|  | Exposure to Asbestos Containing Materials (ACM’s) Exposure to inhalable or ingestible ACM fibres could lead to Asbestos related disease for those affected | 4 | 3 | 12 | Location of ACM’s was established by previous type 2 survey carried out in 2009 Asbestos register and action plan is in place ACM register information is given to all outside contractor personnel who may be required to work in the location where ACMs are present. | 4 | 2 | 8 |  |  |

| Hazard |  | Initial |  |  | Existing Control Measures | Residual |  |  | Additional Controls |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sev | Prob | Risk |  | Sev | Prob | Risk |  |  |
|  | Materials/equipment storage leading to falling objects. Staff/pupils and visitors could suffer severe personal injury or worse as a result material falling onto them | 4 | 3 | 12 | All materials stored appropriately on shelving Storage areas are maintained by nominated personnel who ensure that the shelving is not overloaded. Employees are responsible for ensuring that any/all materials in their defined area(s) are stored in a manner that does not create a hazard for anyone. On-going supervision completed by nominated personnel who ensure employees are adhering to safe working practices. | 4 | 1 | 4 |  |  |
|  | Electricity (fixed installation) Staff/pupils and visitors could suffer severe personal injury or worse if they were to come into contact with an unsafe electrical installation | 5 | 3 | 15 | The fixed electrical installation is tested and inspected, at appropriate intervals, by a competent person (e.g. Industrial: 3 yearly, Commercial: 5 yearly - or as advised by competent person. Fuses, Miniature Circuit Breaker (MCBs) and isolation switches are labelled with the circuits that they isolate and control. Residual current devices are incorporated into the fixed electrical system. Unobstructed access is provided to all electrical isolators and switchgear. | 5 | 1 | 5 |  |  |
|  | Contamination caused by poor hygiene (toilets, welfare areas) Staff/pupils and visitors may suffer from ill health issues due to contamination of welfare areas e.g. sickness, exposure to legionella or similar virus | 3 | 4 | 12 | Welfare areas are subject to daily cleaning regime by appointed cleaning contractor. School employees ensure welfare areas are kept clean and tidy throughout the working day. Legionella Risk assessment carried out by Ravenscroft | 3 | 2 | 6 |  |  |
|  | Glazing and Open or broken windows / Falls, cuts, injury Staff, children and 3rd party personnel could walk onto glass panels and suffer head injuries fractures or cuts if the glass breaks. Cuts / abrasions, muscular skeletal and other physical injuries, Broken bones or if they fell through a window could suffer Significant head / multiple injuries | 4 | 3 | 12 | As far as is reasonably practicable safety glass is used Visual inspections are made any damage will be made safe straight away. | 4 | 1 | 4 |  |  |
|  | Access and egress routes Items stored in corridor / walkways Trips, Falls, fire risk, obstructed escape, Inadequate lighting of exit routes Staff, Pupils, Visitors, Contractors could suffer injury from Trips, Falls, fire risk, obstructed escape | 4 | 3 | 12 | Adequate space, circulation routes and emergency exit. Entrances and exits are clearly signed and well-lit and kept free from obstructions. All escape routes are sufficiently lit for people to see their way-out safety. Extent of emergency lighting reviewed considering all areas of school used outside of ambient daylight hours / without natural daylight installed under BS EN 1838 European Standard Ensured that all escape routes are adequately lit in event of a power failure. Where failed of or insufficient light, torches would be acceptable for trained staff to use. Good housekeeping maintained, regular inspection Staff are instructed to ensure bags and coats are not blocking corridors / walkways Designated storage areas are provided | 4 | 2 | 8 |  |  |
|  | Finger trapping Staff, children and 3rd party personnel could suffer an Entrapment injury resulting in Cuts/Fractures Bruising/swelling amputation | 3 | 3 | 9 | Doors in vulnerable areas; Finger guards are in place to reduce the hazard between the door and frame these are checked on a regular basis, by maintenance personnel; classroom and toilet doors used by early years (0-5) pupils. Risks from doors in other locations considered where necessary the condition of any protective devices fitted monitored by staff on visual inspections. | 3 | 1 | 3 |  |  |
|  | Hot Surfaces, Hot water from taps Staff, children and 3rd party personnel could suffer Burns / scalds shock | 3 | 3 | 9 | Regulated surface temperature radiators where young or special needs children are present. Hot surfaces in Breakfast club/work area children are supervised at all times. Thermostatic mixing valves fitted to all sinks to which nursery, reception classes and special needs pupils have access. Temperatures monitored (43 deg c max at outlets where vulnerable users have access) | 3 | 1 | 3 |  |  |

| ACTION ARISING FROM RISK ASSESSMENT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Risk Rating | Action Required: | Person (s) Responsible | Target Date | Date Completed |
| All | Med | Ensure the risk assessments are communicated to all relevant staff. once read and understood it`s recommended staff sign to state this. | School's H&S Management team | 1 Month |  |

Acknowledgement

The following members of staff have read this risk assessment.

Their signatures are confirmation that they have read and understood all which is within its contents.

| Name | Signature | Date | Name | Signature | Date |
| --- | --- | --- | --- | --- | --- |