Health & Safety Monitoring Inspection and Testing requirements

The list below gives a general guide as to what is required, when and by whom. It is not an exhaustive list and should be reviewed. Frequency of some items may need to be increased depending on level of risk etc

| Frequency | Topic | By Whom |
| --- | --- | --- |
| Daily | Site risk assessment | Operatives |
|  | Visual inspection of workplace (site/factory/office) | All staff |
|  | Fork Lift Truck | FLT driver |
|  | Company vehicles (documented) | Company vehicle drivers |
| Weekly | Internal H&S inspection | In-House nominated person |
|  | Random site inspection | In-House nominated person |
|  | Fire alarm test | In-House nominated person |
|  | Emergency lighting test | In-House nominated person |
| Monthly | Company vehicle inspection (documented) | In-House nominated person |
|  | H&S briefing / toolbox talk | In-House nominated person |
|  | Ladder / step ladders inspection | In-House nominated person |
| 3-monthly | PAT of Electrical Tools/equipment used on site | Competent person |
| 6-monthly | Thorough examination – lifting attachments, chains, slings etc | Competent person |
| Yearly | Fire extinguisher inspection | Competent person |
|  | Fire drill / briefing on procedures | In-House nominated person |
|  | Thorough examination - Fork Lift truck | Competent person |
|  | Thorough examination – LEV (extraction system) test required every 14 months | Competent person |
|  | Pressure system (following a written scheme of examination) | Competent person |
|  | Risk Assessment review | Staff & MBHS |
|  | Policy review | Directors & MBHS |
|  | Management review of H&S process | Directors & MBHS |
| 5 yearly | Fixed electrical testing of factory/office | Competent person |