| ###### MECHANICAL LIFTING PERMIT | Job Reference: |  |
| --- | --- | --- |

A detailed Lifting Plan, including berthing arrangement, completed by the Contractor nominated Appointed Person. A copy of their qualification MUST be attached to this Permit. An accompanying risk assessment and/or Job Safety Analysis, with appropriate controls, must be put in place, prior to work commencing

| Are the personnel involved with the actual lift, Qualified/Licensed, Trained and Competent? | YES NO |
| --- | --- |
| Do they have a current Ticket/Permit for the work to be done? | YES NO |

| SECTION 1 – Specification of Work |  |  |  |  |
| --- | --- | --- | --- | --- |
| Location of Work Area: |  |  |  |  |
| Purpose / type of work: |  |  |  |  |
| Crane Size: | Crane Certificate No: | Load Mass: |  | Lift Radius: |
| Duration of Work: | Start Date/Time: / / ………hrs |  | Finish Date/Time: / / ………hrs |  |

| SECTION 2 – Control Measures |  |
| --- | --- |
| Is the work area generally clear of hazards? | YES NO |
| Are additional isolations required? | YES NO If YES, Isolation Permits must be attached to this permit. |
| Is an emergency plan required? | YES NO If YES, Emergency Plan must be attached to this permit. |

SECTION 3 – Authorisation to Work

I accept this Permit, agree to be bound by the conditions detailed above and the associated procedure(s), and accept responsibility as the person directly in charge of the work. I have read the attached risk assessment / Job Safety Analysis (JSA), procedures and Rescue plan and have the observed risk controls in place.

| Name: |  | Signature: |  | Date: | / / |
| --- | --- | --- | --- | --- | --- |
| I authorise the mechanical lift subject to conditions/precautions of the Lifting Plan and Risk Assessment / JSA attached with this Permit. Note: Lift Plan, Risk Assessment/Task Analysis MUST be attached to this document for authority to be complete. |  |  |  |  |  |
| Contract Coordinator |  | Signature: |  | Date: | / / |

| SECTION 4 – Completion, Suspension or Cancellation of Work Please TICK the appropriate response: |  |  |  |
| --- | --- | --- | --- |
| All work associated with the Lifting Permit has been: |  | COMPLETE SUSPENDED |  |
| The work area and adjacent areas have been inspected after completion of the work and all hazards have been made safe: |  | YES NO |  |
| Equipment has been checked and restored correctly: |  | YES NO |  |
| Additional comments: ………………………………………………………………………………………………………………………………………………………………….. ……………………………………………………………………………………………………………………………………………... ……………………………………………………………………………………………………………………………………………... |  |  |  |
|  | Name | Signature | Date / Time |
| Contractor in control of work: |  |  |  |
| Contract Coordinator: |  |  |  |

SECTION 5 – Checklist Please TICK Y = Yes, N = No

| Check | Y | N | Check | Y | N |
| --- | --- | --- | --- | --- | --- |
| General |  |  | The Lifting Gear (continued) |  |  |
| Has a detailed Lifting Plan been undertaken? |  |  | Has the lifting gear been inspected for defects and damage? |  |  |
| Has a Risk Assessment been undertaken? |  |  | Are the slings protected from any sharp edges? |  |  |
| Is the load being lifted over live plant or love lines (eg gas)? |  |  | The Crane |  |  |
| Is the Contractor experienced at doing the task safely? |  |  | Have the pre and post start operational checks been completed? |  |  |
| Does the task involve multiple sequential steps? |  |  | Are all the Crane’s safety devices, including the cab air conditioning functioning correctly? |  |  |
| Has a check for underground services been undertaken? (berthing) |  |  | Have the ground conditions or structure been determined to be adequate? |  |  |
| Has a check been performed for power lines in the area of lift and isolation or mandatory clearance instigated? |  |  | Is the Crane set-up with outriggers fully deployed and supported on the correct Crane mats? |  |  |
| Has appropriate ‘loaded crane slew path’ been chosen? |  |  | Is the lift within the specific limits of the relevant load charts for the configuration and radius? |  |  |
| Has a clear ‘path of entry’, free of obstacles been established? |  |  | The Lift |  |  |
| Has insulation between the object and crane been provided, if the object is to be welded? |  |  | If the lift involves personnel or lifting over personnel – have a risk assessment or rigging study been done? |  |  |
| Has a clear walking path for the crane operator been established? |  |  | If there is a procedure for this lift, is it being used? |  |  |
| Sufficient boom point elevation has been allowed? |  |  | Is there adequate guidance in the defined behaviours and rules for the lift? |  |  |
| Check that the load wont become job bound. |  |  | Is the area of the lift free of operating plant, piping, live electrical lines and underground services? |  |  |
| Provide safe access for de-rigging. |  |  | Has the radius been checked with a tape measure or surveyed using Engineering plans etc? |  |  |
| Set-down and rigging areas have been defined. |  |  | Does the lift appear to be straightforward with adequate headroom? |  |  |
| Are there any compromising effects of weather existing at the site? |  |  | Has the area of the lifting operation been protected using barricades, tape and/or spotters? |  |  |
| Maximum wind speed for crane load? Can it be measured? |  |  | If people are working at height, has a Risk Assessment been done and correct PPE sources? |  |  |
| The Load |  |  | Are environmental conditions safe for the lift eg. not too windy, storms approaching? |  |  |
| Is the weight of the load and rigging, fly, hooks, etc (as applicable) known to persons involved in the lift? |  |  | Any chance of the load impacting the boom or crane body, or boom to obstacles? Has rigging study been done? |  |  |
| Has an appropriate load chart for crane configuration/proposed configuration selected? |  |  | The Operatives |  |  |
| Is the overall lifting weight known? Load Weight ………………………………………….. |  |  | Does Crane Operator have appropriate certification and assessment for competency to complete this type of work? |  |  |
| Have all items to be lifted (on or below the boom head) been included? |  |  | What is the Certification of Competency for the Crane Operator? …………………………………………………………………………. …… |  |  |
| Is the load of a routine nature? Eg not awkward etc |  |  | What is the Certification of Competency for the Appointed Person (AP)? ……………………………………………………………………………….. |  |  |
| Is load free of loose unsecured items, inc. restraints? |  |  | Is the controller of the lift (AP)been identified and wearing appropriate coloured reflective vest? |  |  |
| The Lifting Gear |  |  | If load is heavier/more complex than Rigger normally handles, is the supervisor aware of this? |  |  |
| Are lifting lugs being used? Have they been properly designed? Do they have a SWL labelled? |  |  | Does the Rigger have appropriate statutory certification and assessment by Site Manager for competency of lift? |  |  |
| Have the SWL and/or WLL of the slings, shackles, etc been checked for the load to be applied? |  |  | Is there adequate ancillary equipment, eg. boom lifts, scissor lifts, forklifts and does the operator have competency for work? |  |  |
| Have the sling angles and rigging method been considered in checking the capacity? |  |  |  |  |  |