Company Name Here

Address

Address

Address

Address

Fire Risk Assessment

Date: 00th Month 20**

Created by

MB Health and Safety Ltd

Unit 1 Hedley Avenue, Grays Essex RM20 4EL

REGULATORY REFORM (FIRE SAFETY) ORDER 2005

FIRE RISK ASSESSMENT – SMALL PREMISES

| Responsible person (e.g. employer or person having control of the premises): | Company name here |
| --- | --- |
| Address of premises: | Full premises address here |
| Person(s) consulted: |  |
| Assessor: | Advisor name (MB Health & Safety Ltd) |
| Date of fire risk assessment: | 00th Month 20** |
| Date of previous fire risk assessment: | 00th Month 20** |
| Suggested date for review1 | On completion of actions and at least annually |
| The purpose of this report is to provide an assessment of the risk to life from fire in the premises, and, where appropriate, to make recommendations to ensure compliance with fire safety legislation. The report does not address the risk to property or business continuity from fire. (Review No. 1 ) |  |

1 This fire risk assessment should be reviewed by a competent person by the date indicated above or at such earlier time as there is reason to suspect that it is no longer valid, or if there has been a significant change in the matters to which it relates, or if a fire occurs

The Assessment was undertaken in accordance with the general risk assessment principles set out in The Regulatory Reform (Fire Safety) Order 2005 in order to identify hazards that could contribute to injury of persons working in or resorting to the building.

There are five aspects that our Advisor has used their professional judgement to consider:

Identification of hazards

Assessment of those at risk

Evaluation of the risk

Methods of control

Further controls that are necessary

It is important that you study this fire risk assessment and understand its contents.

The fire risk assessment includes an Action Plan, which sets out the measures it is considered necessary for you to take to satisfy the requirements of the Fire Safety Order and to protect relevant persons (as defined in the Order) from fire. It is particularly important that you study the Action Plan.

If any recommendation in the Action Plan is unclear you should request further advice

The report does not address the risk to property or business continuity from fire.

More generally, this fire risk assessment forms only a foundation for management of fire safety in your premises and compliance with the Fire Safety Order. It is strongly recommended that you obtain a copy of the Fire Safety Order (http://www.legislation.gov.uk/uksi/2005/1541/contents/made) and relevant HM Government Guidance document(s) (https://www.gov.uk/workplace-fire-safety-your-responsibilities/fire-safety-advice-documents) applicable to your company.

| THE PREMISES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Number of floors: |  |  |  |  |  |
| Approximate floor area: | 0000 m2 per floor 0000 m2 gross |  |  |  |  |
| Brief details of construction: |  |  |  |  |  |
| Use of premises: |  |  |  |  |  |

| THE OCCUPANTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Approximate maximum number: |  |  |  |  |  |
| Approximate number of employees at any one time: |  |  |  |  |  |
| Maximum number of members of public at any one time: |  |  |  |  |  |
| Those occupants especially at risk from fire? |  |  |  |  |  |

Additional comments regarding Premises and Occupancy:

| SOURCES OF IGNITION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type | Details (e.g. location, nature of source, quantities etc.) | Are existing control measures suitable? |  |  |  |  |
| Naked flames |  |  | Y |  | No |  |
| Portable heaters and Heating installations |  |  | Yes |  | No |  |
| Electrical equipment |  |  | Yes |  | No |  |
| Cooking equipment |  |  | Yes |  | No |  |
| Work process risk(s) |  |  | Yes |  | No |  |
| Arson |  |  | Yes |  | No |  |
| Smoking |  |  | Yes |  | No |  |
| Other sources (including Contractor activities) |  |  | Yes |  | No |  |

Comments:

| SOURCES OF FUEL AND OXYGEN |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type | Details (e.g. location, nature of source, quantities etc.) |  |  |  | Are existing control measures suitable? |  |  |  |  |
| Wood / Paper / Cardboard |  |  |  |  |  |  |  | No |  |
| Plastics / Rubber / Foam |  |  |  |  |  | Yes |  | No |  |
| Stock |  |  |  |  |  | Yes |  | No |  |
| Furniture and fixings (e.g. curtains, blinds etc.) |  |  |  |  |  | Yes |  | No |  |
| Flammable materials (e.g. gases, liquids, paints, thinners, glues) |  |  |  |  |  | Yes |  | No |  |
| Display materials or decorations |  |  |  |  |  | Yes |  | No |  |
| Waste materials (refuse, packaging) |  |  |  |  |  | Yes |  | No |  |
| Building structure |  |  |  |  |  | Yes |  | No |  |
| Oxygen supplies (e.g. air conditioning units, cylinders, piped supply) |  |  |  |  |  | Yes |  | No |  |

Comments:

| EVALUATE, REMOVE, REDUCE AND PROTECT FROM RISK |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Are ignition sources controlled to reduce the chances of fire? |  |  |  |  |  | No |  |
| Are combustible materials kept away from ignition sources? |  | Yes |  |  |  | No |  |
| Are all windows and openings closed last thing at night? |  | Yes |  |  |  | No |  |
| Is the fire alarm system adequate for your premises? |  | Yes |  |  |  | No |  |
| Will everybody be warned if the fire alarm operates? |  | Yes |  |  |  | No |  |
| Can everyone escape without assistance? |  | Yes |  |  |  | No |  |
| Is the means of escape adequate for the layout of the building? |  | Yes |  |  |  | No |  |
| Are all fire exits easily identified by correct signage? |  | Yes |  |  |  | No |  |
| Are escape routes free from obstruction and storage? |  | Yes |  |  |  | No |  |
| Are all doors on escape routes easily opened without a key? |  | Yes |  |  |  | No |  |
| Do all doors on escape routes open in the direction of escape? |  | Yes |  |  |  | No |  |
| Can everyone escape in a reasonable time? |  | Yes |  |  |  | No |  |
| Are escape routes adequately lit if the regular lighting system fails? |  | Yes |  |  |  | No |  |
| Is the lighting adequate to illuminate circulation routes? |  | Yes |  |  |  | No |  |
| Is there fire fighting equipment? |  | Yes |  |  |  | No |  |
| Is the fire fighting equipment adequate for the risks present? |  | Yes |  |  |  | No |  |
| Are housekeeping and general waste management adequate? |  | Yes |  |  |  | No |  |
| Are security arrangements sufficient to prevent unauthorised access? |  | Yes |  |  |  | No |  |
| Are measures adequate to prevent incidents of arson? |  | Yes |  |  |  | No |  |
| Are the premises free of any large open roof spaces or concealed ceiling voids? |  | Yes |  |  |  | No |  |
| Would a fire in the premises be contained wholly within it? |  | Yes |  |  |  | No |  |
| Can the fire service easily get to the premises? |  | Yes |  |  |  | No |  |

Comments:

| RECORD, PLAN, INFORM, INSTRUCT AND TRAIN |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| You must record your fire safety arrangements – this includes: |  |  |  |  |  |  |  |  |  |  |  |
| Is there an emergency plan? |  |  |  |  |  |  |  |  |  | No |  |
| Is adequate fire instruction and staff training provided? |  |  | Yes |  |  |  |  |  |  | No |  |
| Are there records of fire drills to test the training and emergency plan? |  |  | Yes |  |  |  |  |  |  | No |  |
| Are there records of maintenance on all fire safety measures? |  |  | Yes |  |  |  |  |  |  | No |  |
| Have you recorded the significant findings of this assessment page 10? |  |  | Yes |  |  |  |  |  |  | No |  |

Comments:

FIRE RISK ASSESSMENT

The following simple risk level estimator is based on a more general health and safety risk level estimator of the type contained in BS 8800:

| Potential consequences of fire Likelihood of fire | Slight harm | Moderate harm | Extreme harm |
| --- | --- | --- | --- |
| Low | Trivial risk | Tolerable risk | Moderate risk |
| Medium | Tolerable risk | Moderate risk | Substantial risk |
| High | Moderate risk | Substantial risk | Intolerable risk |

Taking into account the fire prevention measures observed at the time of this risk assessment, it is considered that the hazard from fire (likelihood of fire) at these premises is:

| Low |  | Medium |  | High |  |
| --- | --- | --- | --- | --- | --- |

In this context, a definition of the above terms is as follows:

| Low: | Unusually low likelihood of fire as a result of negligible potential sources of ignition. |
| --- | --- |
| Medium: | Normal fire hazards (e.g. potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls (other than minor shortcomings). |
| High: | Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in likelihood of fire. |

Taking into account the nature of the building and the occupants, as well as the fire protection and procedural arrangements observed at the time of this fire risk assessment, it is considered that the consequences for life safety in the event of fire would be:

| Slight harm |  | Moderate harm |  | Extreme harm |  |
| --- | --- | --- | --- | --- | --- |

In this context, a definition of the above terms is as follows:

| Slight harm: | Outbreak of fire unlikely to result in serious injury or death of any occupant (other than an occupant sleeping in a room in which a fire occurs). |
| --- | --- |
| Moderate harm: | Outbreak of fire could foreseeably result in injury (including serious injury) of one or more occupants, but it is unlikely to involve multiple fatalities. |
| Extreme harm: | Significant potential for serious injury or death of one or more occupants. |

Accordingly, it is considered that the risk to life from fire at these premises is:

| Trivial |  | Tolerable |  | Moderate |  | Substantial |  | Intolerable |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Comments:

A suitable risk-based control plan should involve effort and urgency that is proportional to risk. The following risk-based control plan is based on one advocated by BS 8800 for general health and safety risks:

| Risk level | Action and timescale |
| --- | --- |
| Trivial | No action is required and no detailed records need be kept. |
| Tolerable | No major additional controls required. However, there might be a need for improvements that involve minor or limited cost. |
| Moderate | It is essential that efforts are made to reduce the risk. Risk reduction measures should be implemented within a defined time period. Where moderate risk is associated with consequences that constitute extreme harm, further assessment might be required to establish more precisely the likelihood of harm as a basis for determining the priority for improved control measures. |
| Substantial | Considerable resources might have to be allocated to reduce the risk. If the building is unoccupied, it should not be occupied until the risk has been reduced. If the building is occupied, urgent action should be taken. |
| Intolerable | Building (or relevant area) should not be occupied until the risk is reduced. |

(Note that, although the purpose of this section is to place the fire risk in context, the above approach to fire risk assessment is subjective and for guidance only. All hazards and deficiencies identified in this report should be addressed by implementing all recommendations contained in the following action plan. The fire risk assessment should be reviewed regularly).

ACTION PLAN

It is considered that the following recommendations should be implemented in order to reduce fire risk to, or maintain it at, the following level:

| Trivial |  | Tolerable |  |
| --- | --- | --- | --- |

Definition of priorities (where applicable):

| Low: | Consideration should be given as to whether risks can be lowered; where applicable to a trivial level within 6-9 months |
| --- | --- |
| Medium: | Additional controls can be implemented at relatively low cost (in terms of time, money, and effort) and should be implemented as soon as possible but within 3 months maximum. |
| High: | Risks unacceptable and require immediate remedial action to reduce risk to tolerable level, or activity needs to be suspended (timescale - 1 month maximum) |

| Actions arising from assessment | Priority (where applicable) | Action by whom | Date action taken |
| --- | --- | --- | --- |