Name or Logo

Address

Fire Risk Assessment

Date:

Created by

MB Health and Safety Ltd

Unit 1 Hedley Avenue, Grays Essex RM20 4EL

REGULATORY REFORM (FIRE SAFETY) ORDER 2005

FIRE RISK ASSESSMENT

| Responsible person (e.g. employer or person having control of the premises: |  |
| --- | --- |
| Address of premises: |  |
| Person(s) consulted: |  |
| Assessor: |  |
| Date of fire risk assessment: |  |
| Date of previous fire risk assessment: |  |
| Suggested date for review1 |  |
| The purpose of this report is to provide an assessment of the risk to life from fire in the premises, and, where appropriate, to make recommendations to ensure compliance with fire safety legislation. The report does not address the risk to property or business continuity from fire. |  |
| (Review No. ) |  |

1 This fire risk assessment should be reviewed by a competent person by the date indicated above or at such earlier time as there is reason to suspect that it is no longer valid, or if there has been a significant change in the matters to which it relates, or if a fire occurs

The Assessment was undertaken in accordance with the general risk assessment principles set out in The Regulatory Reform (Fire Safety) Order 2005 in order to identify hazards that could contribute to injury of persons working in or resorting to the building.

There are five aspects that our Advisor has used their professional judgement to consider:

Identification of hazards

Assessment of those at risk

Evaluation of the risk

Methods of control

Further controls that are necessary

It is important that you study this fire risk assessment and understand its contents.

The fire risk assessment includes an Action Plan, which sets out the measures it is considered necessary for you to take to satisfy the requirements of the Fire Safety Order and to protect relevant persons (as defined in the Order) from fire. It is particularly important that you study the Action Plan.

If any recommendation in the Action Plan is unclear you should request further advice

The report does not address the risk to property or business continuity from fire.

More generally, this fire risk assessment forms only a foundation for management of fire safety in your premises and compliance with the Fire Safety Order. It is strongly recommended that you obtain a copy of the Fire Safety Order (http://www.legislation.gov.uk/uksi/2005/1541/contents/made) and relevant HM Government Guidance document(s) (https://www.gov.uk/workplace-fire-safety-your-responsibilities/fire-safety-advice-documents) applicable to your company.

GENERAL INFORMATION

| 1. | THE PREMISES |  |
| --- | --- | --- |
| 1.1 | Number of floors: |  |
| 1.2 | Approximate floor area: |  |
|  |  | m2 per floor |
|  |  | m2 gross |
|  |  | m2 on ground floor |
| (delete units as appropriate) |  |  |
| 1.3 | Brief details of construction: |  |
| 1.4 | Use of premises: |  |
| 2. | THE OCCUPANTS |  |
| 2.1 | Approximate maximum number: |  |
| 2.2 | Approximate number of employees at any one time: |  |
| 2.3 | Maximum number of members of public at any one time: |  |
| 3. | OCCUPANTS ESPECIALLY AT RISK FROM FIRE |  |
| 3.1 | Sleeping occupants: |  |
| 3.2 | Disabled occupants: |  |
| 3.3 | Occupants in remote areas and lone workers: |  |
| 3.4 | Young person’s |  |
| 3.5 | Others: |  |
|  | Comments: |  |

| 4. | FIRE LOSS EXPERIENCE |
| --- | --- |
| 5. | OTHER RELEVANT INFORMATION |

| 6. | RELEVANT FIRE SAFETY LEGISLATION |
| --- | --- |
| 6.1 | The following fire safety legislation applies to these premises: |
| 6.2 | The above legislation is enforced by: |
| 6.3 | Other legislation that makes significant requirements for fire precautions in these premises (other than the Building Regulations 2000): |
| 6.4 | Legislation to which 6.3 makes reference is enforced by: |
|  | Comments: |

FIRE HAZARDS AND THEIR ELIMINATION OR CONTROL

| 7. | ELECTRICAL SOURCES OF IGNITION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 7.1 | Reasonable measures taken to prevent fires of electrical origin? |  |  | Yes |  | No |  |
| 7.2 | More specifically: |  |  |  |  |  |  |
|  | Fixed installation periodically inspected and tested? |  |  | Yes |  | No |  |
|  | Portable appliance testing carried out? |  |  | Yes |  | No |  |
|  | Suitable policy regarding the use of personal electrical appliances? |  |  | Yes |  | No |  |
|  | Suitable limitation of trailing leads and adapters? |  |  | Yes |  | No |  |
|  | Comments and hazards observed: |  |  |  |  |  |  |
| 8. | SMOKING |  |  |  |  |  |  |
| 8.1 | Reasonable measures taken to prevent fires as a result of smoking? |  |  | Yes |  | No |  |
| 8.2 | More specifically: |  |  |  |  |  |  |
|  | Smoking prohibited in the building? |  |  | Yes |  | No |  |
|  | Smoking prohibited in appropriate areas? | N/A |  | Yes |  | No |  |
|  | Suitable arrangements for those who wish to smoke? |  |  | Yes |  | No |  |
|  | This policy appeared to be observed at time of inspection? |  |  | Yes |  | No |  |
|  | Comments and hazards observed: |  |  |  |  |  |  |

| 9. | ARSON |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 9.1 | Does basic security against arson by outsiders appear reasonable?2 | Yes |  | No |  |
| 9.2 | Is there an absence of unnecessary fire load in close proximity to the premises or available for ignition by outsiders? | Yes |  | No |  |
|  | Comments and hazards observed: |  |  |  |  |

2 Reasonable only in the context of this fire risk assessment. If specific advice on security (including security against arson) is required, the advice of a security specialist should be obtained.

| 10. | PORTABLE HEATERS AND HEATING INSTALLATIONS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10.1 | Is the use of portable heaters avoided as far as practicable? |  |  |  | Yes |  |  |  | No |  |  |
| 10.2 | If portable heaters are used: |  |  |  |  |  |  |  |  |  |  |
|  | Is the use of the more hazardous type (e.g. radiant bar fires or lpg appliances) avoided? |  | N/A |  | Yes |  |  |  | No |  |  |
|  | Are suitable measures taken to minimise the hazard of ignition of combustible materials? |  | N/A |  | Yes |  |  |  | No |  |  |
| 10.3 | Are fixed heating installations subject to regular maintenance? |  | N/A |  | Yes |  |  |  | No |  |  |
|  | Comments and hazards observed: |  |  |  |  |  |  |  |  |  |  |
| 11. | COOKING |  |  |  |  |  |  |  |  |  |  |
| 11.1 | Are reasonable measures taken to prevent fires as a result of cooking? | N/A |  |  | Yes |  |  |  | No |  |  |
| 11.2 | More specifically: |  |  |  |  |  |  |  |  |  |  |
|  | Filters changed and ductwork cleaned regularly? | N/A |  |  | Yes |  |  |  | No |  |  |
|  | Suitable extinguishing appliances available? |  |  |  | Yes |  |  |  | No |  |  |
|  | Comments and hazards observed: |  |  |  |  |  |  |  |  |  |  |
| 12. | LIGHTNING |  |  |  |  |  |  |  |  |  |  |
| 12.1 | Does the building have a lightning protection system? |  |  |  |  | Yes |  |  |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |  |  |  |  |

| 13. | HOUSEKEEPING |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13.1 | Is the standard of housekeeping adequate? |  |  |  |  | Yes |  |  |  | No |  |  |  |
| 13.2 | More specifically: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Combustible materials appear to be separated from ignition sources? |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Avoidance of unnecessary accumulation of combustible materials or waste? |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Appropriate storage of hazardous materials? |  | N/A |  |  | Yes |  |  |  | No |  |  |  |
|  | Avoidance of inappropriate storage of combustible materials? |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Comments and hazards observed: |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | HAZARDS INTRODUCED BY OUTSIDE CONTRACTORS AND BUILDING WORKS |  |  |  |  |  |  |  |  |  |  |  |  |
| 14.1 | Are fire safety conditions imposed on outside contractors? |  |  |  |  | Yes |  |  |  | No |  |  |  |
| 14.2 | Is there satisfactory control over works carried out in the building by outside contractors (including “hot work” permits)? |  |  |  |  | Yes |  |  |  | No |  |  |  |
| 14.3 | If there are in-house maintenance personnel, are suitable precautions taken during “hot work,” including use of hot work permits? |  | N/A |  |  | Yes |  |  |  | No |  |  |  |
|  | Comments: |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. | DANGEROUS SUBSTANCES |  |  |  |  |  |  |  |  |  |  |  |  |
| 15.1 | If dangerous substances are, or could be, used, has a risk assessment been carried out, as required by the Dangerous Substances and Explosive Atmospheres Regulations 2002? | N/A |  |  |  |  | Yes |  |  |  | No |  |  |
|  | Comments: |  |  |  |  |  |  |  |  |  |  |  |  |

| 16. | OTHER SIGNIFICANT FIRE HAZARDS THAT WARRANT CONSIDERATION INCLUDING PROCESS HAZARDS THAT IMPACT ON GENERAL FIRE PRECAUTIONS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 16.1 | Hazards: |  |  |  |  |
|  | Comments and deficiencies observed: |  |  |  |  |
| 17. | MEANS OF ESCAPE FROM FIRE |  |  |  |  |
| 17.1 | It is considered that the building is provided with reasonable means of escape in case of fire. | Yes |  | No |  |
| 17.2 | More specifically: |  |  |  |  |
|  | Adequate design of escape routes? | Yes |  | No |  |
|  | Adequate provision of exits? | Yes |  | No |  |
|  | Exits easily and immediately openable where necessary? | Yes |  | No |  |
|  | Fire exits open in direction of escape where necessary? | Yes |  | No |  |
|  | Avoidance of sliding or revolving doors as fire exits where necessary? | Yes |  | No |  |
|  | Satisfactory means for securing exits? | Yes |  | No |  |
|  | Reasonable distances of travel: |  |  |  |  |
|  | - Where there is a single direction of travel? | Yes |  | No |  |
|  | - Where there are alternative means of escape? | Yes |  | No |  |
|  | Suitable protection of escape routes? | Yes |  | No |  |
|  | Suitable fire precautions for all inner rooms? | Yes |  | No |  |
|  | Escape routes unobstructed? | Yes |  | No |  |
| 17.3 | It is considered that the building is provided with reasonable arrangements for means of escape for disabled people. | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |

| 18. | MEASURES TO LIMIT FIRE SPREAD AND DEVELOPMENT |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 18.1 | It is considered that there is: |  |  |  |  |  |  |  |  |  |  |
|  | Compartmentation of a reasonable standard3 |  |  |  |  |  | Yes |  |  | No |  |
|  | Reasonable limitation of linings that might promote fire spread |  |  |  |  |  | Yes |  |  | No |  |
| 18.2 | As far as can reasonably be ascertained, fire dampers are provided as necessary to protect critical means of escape against passage of fire, smoke and combustion products in the early stages of the fire?4 5 |  | N/A |  |  |  | Yes |  |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |  |  |  |  |
| 19. | EMERGENCY ESCAPE LIGHTING |  |  |  |  |  |  |  |  |  |  |
| 19.1 | Reasonable standard of emergency escape lighting system provided?5 |  |  |  |  |  | Yes |  |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |  |  |  |  |
| 20. | FIRE SAFETY SIGNS AND NOTICES |  |  |  |  |  |  |  |  |  |  |
| 20.1 | Reasonable standard of fire safety signs and notices? |  |  |  |  |  | Yes |  |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |  |  |  |  |
| 21. | MEANS OF GIVING WARNING IN CASE OF FIRE |  |  |  |  |  |  |  |  |  |  |
| 21.1 | Reasonable manually operated electrical fire alarm system provided?6 |  |  |  |  | Yes |  |  |  | No |  |
| 21.2 | Automatic fire detection provided? | Yes |  |  |  | Yes |  |  |  | No |  |
|  | (throughout Building) |  |  |  |  | (part of building only) |  |  |  |  |  |
| 21.3 | Extent of automatic fire detection generally appropriate for the occupancy and fire risk? |  | N/A |  |  | Yes |  |  |  | No |  |
| 21.4 | Remote transmission of alarm signals? |  |  |  |  | Yes |  |  |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |  |  |  |  |

3 Based on visual inspection of readily accessible areas, with a degree of sampling where appropriate.

4 A full investigation of the design of HVAC systems is outside the scope of this fire risk assessment.

5 Based on visual inspection, but no test of illuminance levels or verification of full compliance with relevant British Standards carried out

6 Based on visual inspection, but no audibility tests or verification of full compliance with relevant British Standard carried out..

| 22. | MANUAL FIRE EXTINGUISHING APPLIANCES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 22.1 | Reasonable provision of portable fire extinguishers? |  |  | Yes |  | No |  |
| 22.2 | Hose reels provided? |  |  | Yes |  | No |  |
| 22.3 | Are all fire extinguishing appliances readily accessible? |  |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |
| 23. | RELEVANT 7 AUTOMATIC FIRE EXTINGUISHING SYSTEMS |  |  |  |  |  |  |
| 23.1 | Type of system: |  |  |  |  |  |  |
|  | Comments: |  |  |  |  |  |  |
| 24 | OTHER RELEVANT 7 FIXED SYSTEMS AND EQUIPMENT |  |  |  |  |  |  |
| 24.1 | Type of fixed system: |  |  |  |  |  |  |
|  | Comments: |  |  |  |  |  |  |
| 24.2 | Suitable provision of fire-fighters switch(es) for high voltage luminous tube signs, etc. | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |

7 Relevant to life safety and this risk assessment (as opposed purely to property protection).

MANAGEMENT OF FIRE SAFETY

| 25. | PROCEDURES AND ARRANGEMENTS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 25.1 | Fire safety is managed by:8 |  |  |  |  |  |  |
| 25.2 | Competent person(s) appointed to assist in undertaking the preventive and protective measures (i.e. relevant general fire precautions)? |  |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 25.3 | Is there a suitable record of the fire safety arrangements? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 25.4 | Appropriate fire procedures in place? |  |  | Yes |  | No |  |
|  | More specifically: |  |  |  |  |  |  |
|  | Are procedures in the event of fire appropriate and properly documented? | N/A |  | Yes |  | No |  |
|  | Are there suitable arrangements for summoning the fire and rescue services? |  |  | Yes |  | No |  |
|  | Are there suitable arrangements to meet the fire and rescue service on arrival and provide relevant information, including that relating to hazards to fire-fighters? | N/A |  | Yes |  | No |  |
|  | Are there suitable arrangements for ensuring that the premises have been evacuated? | N/A |  | Yes |  | No |  |
|  | Is there a suitable fire assembly point(s)? | N/A |  | Yes |  | No |  |
|  | Are there adequate procedures for evacuation of any disabled people who are likely to be present? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |

8 This is not intended to represent a legal interpretation of responsibility, but merely reflects the managerial arrangement in place at the time of this risk assessment

| 25.5 | Persons nominated and trained to use fire extinguishing appliances? | N/A |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Comments: |  |  |  |  |  |  |
| 25.6 | Persons nominated and trained to assist with evacuation, including evacuation of disabled people? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 25.7 | Appropriate liaison with fire and rescue service (e.g. by fire and rescue service crews visiting for familiarisation visits)? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 25.8 | Routine in-house inspections of fire precautions (e.g. in the course of health and safety inspections)? | N/A |  | Yes |  | No |  |
|  | Comments |  |  |  |  |  |  |

| 26. | TRAINING AND DRILLS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 26.1 | Are all staff given adequate fire safety instruction and training on induction? |  |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 26.2 | Are all staff given adequate periodic “refresher training” at suitable intervals? |  |  | Yes |  | No |  |
|  | Comments |  |  |  |  |  |  |
| 26.3 | Does all staff training provided information, instruction or training on the following: |  |  |  |  |  |  |
|  | Fire risks in the premises? |  |  | Yes |  | No |  |
|  | The fire safety measures in the building? |  |  | Yes |  | No |  |
|  | Action in the event of fire? |  |  | Yes |  | No |  |
|  | Action on hearing the fire alarm signal? |  |  | Yes |  | No |  |
|  | Method of operation of manual call points? |  |  | Yes |  | No |  |
|  | Location and use of fire extinguishers |  |  | Yes |  | No |  |
|  | Means for summoning the fire and rescue service? |  |  | Yes |  | No |  |
|  | Identity of persons nominated to assist with evacuation? |  |  | Yes |  | No |  |
|  | Identity of persons nominated to use fire extinguishing appliances? |  |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 26.4 | Are staff with special responsibilities (e.g. fire wardens) given additional training? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |

| 26.5 | Are fire drills carried out at appropriate intervals? |  |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Comments: |  |  |  |  |  |  |
| 26.6 | When the employees of another employer work in the premises: |  |  |  |  |  |  |
|  | Is their employer given appropriate information (e.g. on fire risks and general fire precautions)? | N/A |  | Yes |  | No |  |
|  | Is it ensured that the employees are provided with adequate instructions and information? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 27. | TESTING AND MAINTENANCE |  |  |  |  |  |  |
| 27.1 | Adequate maintenance of premises? |  |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |
| 27.2 | Weekly testing and periodic servicing of fire detection and alarm system? |  |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |
| 27.3 | Monthly and annual testing routines for emergency escape lighting? |  |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |

| 27.4 | Annual maintenance of fire extinguishing appliances? |  |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Comments and deficiencies |  |  |  |  |  |  |
| 27.5 | Periodic inspection of external escape staircases and gangways? | N/A |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |
| 27.6 | Six-monthly inspection and annual testing of rising mains? | N/A |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |
| 27.7 | Weekly and monthly testing, six monthly inspection and annual testing of fire-fighting lifts? | N/A |  | Yes |  | No |  |
|  | Comments and deficiencies observed: |  |  |  |  |  |  |
| 27.8 | Weekly testing and periodic inspection of sprinkler installations? | N/A |  | Yes |  | No |  |
|  | Comments: |  |  |  |  |  |  |

| 27.9 | Routine checks of final exit doors and/or security fastenings? | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- |
|  | Comments: |  |  |  |  |

| 27.10 |  | Annual inspection and test of lightning protection system? | N/A |  |  | Yes |  |  | No |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Comments: |  |  |  |  |  |  |  |  |
| 27.11 |  | Other relevant inspections or tests? |  |  |  | Yes |  |  | No |  |
|  |  | Comments: |  |  |  |  |  |  |  |  |
| 28. | RECORDS |  |  |  |  |  |  |  |  |  |
| 28.1 | Appropriate records of: |  |  |  |  |  |  |  |  |  |
|  | Fire drills? |  | N/A |  |  | Yes |  |  | No |  |
|  | Fire training? |  |  |  | Yes |  |  |  | No |  |
|  | Fire alarm tests? |  | N/A |  | Yes |  |  |  | No |  |
|  | Emergency escape lighting tests? |  | N/A |  | Yes |  |  |  | No |  |
|  | Maintenance and testing of other fire protection systems? |  | N/A |  | Yes |  |  |  | No |  |
|  | Comments: |  |  |  |  |  |  |  |  |  |

FIRE RISK ASSESSMENT

The following simple risk level estimator is based on a more general health and safety risk level estimator of the type contained in BS 8800:

| Potential consequences of fire Likelihood of fire | Slight harm | Moderate harm | Extreme harm |
| --- | --- | --- | --- |
| Low | Trivial risk | Tolerable risk | Moderate risk |
| Medium | Tolerable risk | Moderate risk | Substantial risk |
| High | Moderate risk | Substantial risk | Intolerable risk |

Taking into account the fire prevention measures observed at the time of this risk assessment, it is considered that the hazard from fire (likelihood of fire) at these premises is:

| Low |  | Medium |  | High |  |
| --- | --- | --- | --- | --- | --- |

In this context, a definition of the above terms is as follows:

| Low: | Unusually low likelihood of fire as a result of negligible potential sources of ignition. |
| --- | --- |
| Medium: | Normal fire hazards (e.g. potential ignition sources) for this type of occupancy, with fire hazards generally subject to appropriate controls (other than minor shortcomings). |
| High: | Lack of adequate controls applied to one or more significant fire hazards, such as to result in significant increase in likelihood of fire. |

Taking into account the nature of the building and the occupants, as well as the fire protection and procedural arrangements observed at the time of this fire risk assessment, it is considered that the consequences for life safety in the event of fire would be:

| Slight harm |  | Moderate harm |  | Extreme harm |  |
| --- | --- | --- | --- | --- | --- |

In this context, a definition of the above terms is as follows:

| Slight harm: | Outbreak of fire unlikely to result in serious injury or death of any occupant (other than an occupant sleeping in a room in which a fire occurs). |
| --- | --- |
| Moderate harm: | Outbreak of fire could foreseeably result in injury (including serious injury) of one or more occupants, but it is unlikely to involve multiple fatalities. |
| Extreme harm: | Significant potential for serious injury or death of one or more occupants. |

Accordingly, it is considered that the risk to life from fire at these premises is:

| Trivial |  | Tolerable |  | Moderate |  | Substantial |  | Intolerable |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Comments:

A suitable risk-based control plan should involve effort and urgency that is proportional to risk. The following risk-based control plan is based on one advocated by BS 8800 for general health and safety risks:

| Risk level | Action and timescale |
| --- | --- |
| Trivial | No action is required and no detailed records need be kept. |
| Tolerable | No major additional controls required. However, there might be a need for improvements that involve minor or limited cost. |
| Moderate | It is essential that efforts are made to reduce the risk. Risk reduction measures should be implemented within a defined time period. Where moderate risk is associated with consequences that constitute extreme harm, further assessment might be required to establish more precisely the likelihood of harm as a basis for determining the priority for improved control measures. |
| Substantial | Considerable resources might have to be allocated to reduce the risk. If the building is unoccupied, it should not be occupied until the risk has been reduced. If the building is occupied, urgent action should be taken. |
| Intolerable | Building (or relevant area) should not be occupied until the risk is reduced. |

(Note that, although the purpose of this section is to place the fire risk in context, the above approach to fire risk assessment is subjective and for guidance only. All hazards and deficiencies identified in this report should be addressed by implementing all recommendations contained in the following action plan. The fire risk assessment should be reviewed regularly).

ACTION PLAN

It is considered that the following recommendations should be implemented in order to reduce fire risk to, or maintain it at, the following level:

| Trivial |  | Tolerable |  |
| --- | --- | --- | --- |

Definition of priorities (where applicable):

| Low: | Consideration should be given as to whether risks can be lowered; where applicable to a trivial level within 6-9 months |
| --- | --- |
| Medium: | Additional controls can be implemented at relatively low cost (in terms of time, money, and effort) and should be implemented as soon as possible but within 3 months maximum. |
| High: | Risks unacceptable and require immediate remedial action to reduce risk to tolerable level, or activity needs to be suspended (timescale - 1 month maximum) |

| Actions arising from assessment | Priority (where applicable) | Action by whom | Date action taken |
| --- | --- | --- | --- |