The list below gives a general guide as to what is required, when and by whom. It is not an exhaustive list and should be reviewed. Frequency of some items may need to be increased depending on level of risk etc

| Frequency | Topic | By Whom |
| --- | --- | --- |
| Daily | Visual inspection of workplace (site/factory/office) | All staff |
|  | Pre-start machine inspections (guarding, controls etc) | Factory Foreman |
|  | Pre-start visual checks of equipment (Air Fed masks, LEV systems etc) | Staff using equipment |
|  | Forklift Truck (pre-use check) | FLT driver |
|  | Commercial vehicles (pre-use check) | Company vehicle drivers |
| Weekly | Internal H&S inspection | In-House |
|  | Fire alarm test (different call point each week) | In-House Fire Marshal(s) |
|  | Legionella – flushing/running of outlets | In-House |
| Monthly | Company vehicle inspection (documented) | In-House |
|  | H&S briefing / toolbox talk | In-House |
|  | Emergency lighting test | In-House Fire Marshal(s) |
|  | Fire Door Checks (operating correctly etc) | In-House Fire Marshal(s) |
|  | Ladder / step ladders inspection | In-House |
|  | Racking inspection | In-House |
|  | Occupational Health – Skin Checks (documented) | In-House |
|  | First Aid Kit – content checks (against the list provided in each kit) | In-House |
| 3-monthly | PAT of Electrical Tools/equipment used in construction activities | Competent person |
| 6-monthly | Lifting Equipment Thorough Examination (equipment for lifting people, lifting attachments, chains, slings etc) | Competent person |
|  | Fire Door Inspection | Specialists – Comp. person |
| Yearly | Fire Equipment testing & inspection (extinguishers, emergency lighting 1or 3-hour discharge etc) | Specialists – Comp. person |
|  | Fire Awareness training on procedures (including evacuation drill) | In-House Fire Marshal(s) |
|  | Fire Alarm and Detection (alarm panel(s) and smoke/heat detection) | Specialists – Comp. person |
|  | Lifting Equipment Thorough Examination (Fork Lift truck, Tail lifts etc) | Competent person |
|  | Thorough examination – LEV (extraction system test required every 14 mths) | Competent person |
|  | Racking inspection | Competent person |
|  | Pressure system (following a written scheme of examination) | Competent person |
|  | H&S Documentation/process review (Policy, Risk Assessments etc) | Directors & Staff |
| 3 yearly | Fixed electrical testing of industrial premises | Competent person |
| 5 yearly | Fixed electrical testing of commercial premises | Competent person |