| Area/Activity Assessed | Office areas – 5th Floor, 30 Panton Street | Date | 14th July 2025 |
| --- | --- | --- | --- |
| Assessment Completed By | Tony Smith-Allen | Person(s) Consulted | E. Tarnoczi |

| Persons Exposed | Employees |  | Contractors |  | Young Person |  | Expectant Mother |  | Visitors and/or Public |  | Trespassers |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Frequency of Exposure | Continually |  | Hourly |  | Daily |  | Weekly |  | Monthly |  | Yearly |  |
| Duration of Exposure | Less than 1hr |  | 1-2 hrs |  | 3-4 hrs |  | 5-6 hrs |  | 7-8 hrs |  | More than 8 hrs |  |

| Probability (Prob) | 5= Very Likely, 4= Likely, 3= Quite Possible, 2= Possible, 1= Unlikely | Low | 0-8 | Low risk no action required |
| --- | --- | --- | --- | --- |
|  |  | Medium | 9-15 | Medium risk ensure adequate controls are in use |
| Severity (Sev) | 5= Catastrophic, 4= Major, 3= Moderate, 2= Minor, 1= Insignificant | High | 16-25 | High risk stop operation and implement adequate control measures |

This Risk Assessment and identified Control Measures has been established following consultation with Management, Supervisory and Operational staff

Staff acknowledgment as to their understanding of the control measures to be applied is included as the last page to this document

| Hazard |  | Initial |  |  | Existing Control Measures | Residual |  |  | Additional Controls |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sev | Prob | Risk |  | Sev | Prob | Risk |  |  |
|  | Unauthorised access to the premises Staff could suffer severe personal injury or worse as a result of trespassers or unauthorised personnel gaining access to working areas | 3 | 3 | 9 | - Access to the building is controlled by a security system that requires all visitors to request entry. - Reception staff manage the control of visitors to the premises area using the entry system. - Each occupying Company has defined area within the building and no unauthorised access is permitted to designated areas. | 3 | 2 | 6 |  |  |
|  | Adverse weather creating hazardous access/egress conditions Staff and 3rd party personnel could suffer personal injury due to weather conditions creating a hazardous condition | 3 | 3 | 9 | - The Landlord ensure all pedestrian access routes that are within their responsibility are cleared of snow/ice. - The Landlord will make suitable provision for ensuring that access/egress to the building is maintained in safe condition. | 3 | 2 | 6 |  |  |
|  | Poor housekeeping leading to slips, trips and falls Staff and 3rd party personnel could suffer personal injury as a result of falling as a result of the premises flooring being in poor condition and/or materials/equipment being stored inappropriately. | 3 | 3 | 9 | - All occupying Companies within the building are aware of the need for good housekeeping throughout communal areas that are used by all. This ensures that all access routes, walkways and general floor areas are kept free from obstructions and potential trip hazards. - Stairs throughout the premises are for access/egress only and maintained by the Landlord who ensures that all access routes, walkways and general floor areas are suitably illuminated using an appropriate level of lighting. | 3 | 2 | 6 |  |  |

| Hazard |  | Initial |  |  | Existing Control Measures | Residual |  |  | Additional Controls |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sev | Prob | Risk |  | Sev | Prob | Risk |  |  |
|  | Fire Staff and other building users - could suffer from smoke inhalation or burns if trapped in office | 5 | 3 | 15 | - Specific fire risk assessment completed by the Landlord for the premises and should be subject to annual review as a minimum. - Fire alarm in place and subject to testing and maintenance - Fire extinguishers, smoke alarm, emergency lighting in place. Staff induction includes fire evacuation procedures and means of raising the alarm. - Regular removal of combustible waste - No smoking in buildings in line with UK legislation | 5 | 2 | 10 |  |  |
|  | Electricity (fixed installation) Staff and 3rd parties could suffer severe personal injury or worse if they were to come into contact with an unsafe electrical installation | 4 | 4 | 16 | - The fixed electrical installation is the responsibility of the Company, and the UK VP OM/HR ensures it is tested and inspected, at appropriate intervals, by a competent person (e.g. Industrial: 3 yearly, Commercial: 5 yearly - or as advised by competent person. - A copy of the last test and inspection certificate is available. - Fuses, Miniature Circuit Breaker (MCBs) and isolation switches are labelled with the circuits that they isolate and control. - Residual current devices are incorporated into the fixed electrical system. | 4 | 1 | 4 |  |  |
|  | Passenger lift Staff and 3rd parties using the passenger/goods lift are at risk if the lift malfunctions. | 4 | 3 | 12 | - In the event of a breakdown or if persons are trapped in the lift, then the relevant Lift Service Company will be contacted immediately by the reception staff. A lift rescue must not to be attempted by any untrained person. - Emergency telephone/intercom system installed to lift. - Lifts must not be loaded above the manufacturer’s safe working load. - Access by Company staff and storage of any equipment or material within lift motor rooms is prohibited. - Lifts must not be used in a fire. - Persons should not attempt to use lifts when they are being serviced. - All lifts within the premises will be inspected at the required statutory intervals with records of such maintained by the Landlord. | 4 | 2 | 8 |  |  |
|  | Contamination caused by poor hygiene (toilets, welfare areas) Staff may suffer from ill health issues due to contamination of welfare areas e.g. sickness, or similar virus | 3 | 2 | 6 | - Welfare areas are subject to daily cleaning regime by appointed cleaning contractor. This includes a lunchtime and evening rota. - Landlord appointed cleaning contractor(s) ensure communal welfare area are kept clean and tidy throughout the working day. | 3 | 1 | 3 |  |  |

| ACTION ARISING FROM RISK ASSESSMENT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Risk Rating | Action Required: | Person (s) Responsible | Target Date | Date Completed |
|  | All | Ensure that all office-based staff are aware of this risk assessment | EnTrust Global Management | Ongoing |  |
| 4 | Medium | The Landlord to co-ordinate and provide fire evacuation procedure information so that a co-ordinated exit is in place in the event of an emergency. | Landlord & EnTrust Global Management | Annually as a minimum |  |

Acknowledgement

The following members of staff have read this risk assessment.

Their signatures are confirmation that they have read and understood all which is within its contents.

| Name | Signature | Date | Name | Signature | Date |
| --- | --- | --- | --- | --- | --- |