School Health and Safety Audit

| School name: | Honeywell Primary School | Date Inspected: | 27th March 2025 |
| --- | --- | --- | --- |
| Auditor: | John Addison MB Health & Safety | Persons consulted | Heather Fellows Mercian Educational Trust Compliance Officer |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| policy | Is there a health & safety policy (signed & dated by Head teacher / Chair of Governors)? | YES |  |  | Date of review: The Health & Safety policy agreed 11/2024 next review with the governors 11/2025. Once completed and agreed, Dafydd will sign the latest copy, this will be displayed on the notice board and Share point. Once completed signed and dated please send a copy to MBHS for review and filing. Organisation arrangements and Legal requirements are documented. MET lone working policy has been reviewed March 2025 and EWO (Educational welfare officers) have been inducted with this information. |
|  | Are there effective arrangements for ensuring that all staff are aware of the relevant contents of the Health and Safety policy? |  | TBC |  | The Health &Safety policy statement is brought to the attention of the employee via the shared drive. Notice board during in health and safety inductions. Employee Health & Safety handbook is reviewed as required and is now in a digital format and readily available to all staff. And included in staff inductions. |
|  | Health & Safety Poster in place, appropriately placed | YES |  |  | The Health & Safety Poster is in place in the front reception area. |
| risk assessment | Are school specific risk assessments in place for those school activities presenting a significant risk? | YES |  |  | Action: A full review of all risk assessments has been agreed to be being completed June 2025 with MBHS and Heather Going forward, the management review will be annually, and then all staff will read and sign on a three-yearly cycle. |
|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
|  | Are individual risk assessments being carried out where applicable? (e.g. pregnant employees, known medical conditions where there are Health &Safety implications, such as epilepsy etc.) | YES |  |  | The expectant mother’s Risk assessments: inform MBHS who will assist with the assessment as required. Once you have been notified that an employee is pregnant, you must revisit your general workplace assessment, consider the risks, and take action as follows: Step 1: If you identify a risk, you must make reasonable changes to the expectant mothers working conditions to avoid those risks. There are a range of reasonable changes you can make, for example: - alter (temporarily) the employee’s hours of work. - allow extra breaks. - ensure the employee can sit down when requested. - re-allocate heavy lifting duties. Step 2: If there are no reasonable changes you can make to avoid the risk; you must offer the employee suitable alternative work on terms and conditions that are not substantially less favourable to those of the original job. Step 3: If there is no suitable alternative work, you must suspend the employee on full pay for as long as is needed to avoid the risk. HSE Guidance states “If no immediate risk has been identified you must monitor and review the assessment regularly as circumstances can change.” Discussed with Heather, and agreed expectant mothers’ assessments, will be undertaken by John Addison (MBHS) or appointed person |
|  | Are staff aware of the content and location of all relevant risk assessments? | YES |  |  | As Above: All documents will be on the shared drive, and will be made available on staff notice boards and email communication |
|  | Is a member of staff designated as an Educational/External Visit is Coordinator (EVC) and have they received training? | YES |  |  | EVC training has been completed by Amy Lloyd and is due November 2025 and Andrew Morely completed November 2022; Action: Once confirmation of EVC training has been completed, please forward a copy of the training certificate to MBHS for filing As of April 2025 School will use EVOLVE in the management of educational visits, this includes risk assessment and training, and is overseen by the Head teacher. |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| health and safety inspection | Regular health and safety inspections of site undertaken and documented? Have recommendations arising from inspections been actioned? | YES |  |  | Date of the last H&S Audit: 27/03/2025 Weekly-Monthly inspections are completed by David Sample (New Caretaker) and defects noted are placed on the online defects register. Premises checklist completed half termly, this now includes checks on wall mounted AV boards. MBHS assist with Health & Safety; MBHS will carry out regular audits to review the arrangements. The school’s H&S Management team carry out inspections periodically. |
| fire Risk assessment Fire drill Emergency evacuation Plans Fire alarm test | Has a fire risk assessment been completed / reviewed within the last 12 months? | YES |  |  | Date of the last assessment: Fire risk assessment was reviewed 30/09/2024 Many of the actions and recommendations required have been completed – though there are still some outstanding. Action: The Fire risk assessment action plan continues being actioned signed and dated, and to be emailed back to MBHS for review and filing once completed. Heather and the caretaker are going through and signing off any additional actions that are on the defects register |
|  | Have there been any recent changes to the building? If YES has the Fire risk assessment been altered to reflect these changes? |  | NO |  | The school was built in 1955, there has been no alterations since the last fire risk assessment. Other that what has been completed on the Cif bid works regarding fire. |
|  | Documented school evacuation plan in place? Evacuation plan considers any individuals who may need specific assistance during evacuation. (e.g. due to mobility impairment etc.) | YES |  |  | General Fire Action – Any Person Discovering a Fire Sign is in place. Bespoke evacuation plans are in place. PEEPS (Personal Emergency Evacuation Plans) are in place Where applicable. A PEEP is a bespoke 'escape plan' for individuals who may not be able to reach an ultimate place of safety unaided or within a satisfactory period of time in the event of any emergency. Heather has implemented PEEP Documents for example Medical -Hearing impairment Visually Impaired and Mental Health. |
|  | Fire drills conducted termly and recorded? Have any issues identified as a result been resolved? |  | TBC |  | Date of last evacuation drill was 20/12/2024 completed in 2 minutes and 46 seconds. Discussed with Heather that a review of the lockdown procedure is being undertaken by the Head to include the use of Arbor MIS for better communication and how this can be implemented for the next lockdown practice. Action: Continuity Plan is now in a digital format online with access available to all staff, the critical incident plan is being reviewed by the school`s Head teacher and is awaiting some additional information to be completed. Heather to advise MBHS upon completion |
|  | Fire alarm call points tested weekly (different call point each week on a rotational basis) and documented? | YES |  |  | Verbally assured by Heather The fire alarm is tested Weekly by David Sample and logged in fire logbook |
|  | Fire alarm serviced / inspected by a competent engineer (6 monthly for systems with a battery backup, annually for mains only systems)? | YES |  |  | Annual/ 6 monthly test date 24/10/2024 By Fire safe, All Smoke & Heat detectors tested 24/10/2024 |
|  | Does the fire alarm system have a battery back up? | YES |  |  |  |
|  | Appropriate fire extinguishers are available and inspected annually? | YES |  |  | Date of annual inspection: serviced 04/2024 by Walkers Fire |
| Sprinklers | Sprinklers in placed and serviced |  |  | N/A |  |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| emergency exits | All emergency exits are routes clearly signed and unobstructed? | YES |  |  | All staff are aware that all emergency exit routes are always to be kept free from obstruction |
|  | Areas of school used for lettings outside of ambient daylight hours have emergency lighting available on escape routes? | YES |  |  | After school clubs have easy and safe exit as appropriate emergency lighting is in place. Fire procedures in place |
| Emergency lighting | Emergency lighting tested monthly (in house) and full discharge test completed annually (by competent service engineer)? | YES |  |  | Date of Full discharge test: Annual test date 05/04/2024 and verbally assured by Heather Fellows they are tested monthly by David Sample |
| Fire doors | Key internal fire doors (e.g. cross corridor and stairwell) in place and fully closing? | YES |  |  | Monthly checks are completed inhouse and documented via an electronic document with issues raised being added to the defects book. Heather has put QR codes on fire doors to improve fire door checks and defect reporting. Fire resisting door’s purpose built and tested to the approved standard (BS476) including the frames, hinges and door furniture. The corridors are divided where necessary, fire resisting construction to limit the spread of fire and smoke and to protect escapes routes in the event of a fire. Recommend that a review of staff training to take place for fire door inspections, making sure everyone’s up to speed helps keep inspections consistent and up to standard. A quick refresher or update can clear up any confusion, highlight what to look out for, and make sure the team is following the latest fire safety guidelines. |
| first aid accident reporting | Adequate numbers and levels of first aiders on site? |  | TBC |  | Staff trained in First Aid: -Action: There was no evidence at the time of audit for the numbers of trained First aiders. The school are to confirm sufficient numbers of first aiders have been trained or refresher training completed as applicable. Local Hospital is located in Worcester. With the EFAW courses they are based on Adults CPR/choking and other medical emergencies in the workplace, so children are not in the course and are not part of the EFAW qualification. Some courses have extra information about children and infant’s CPR, the differences between them and adults and show the anatomical differences in CPR/Choking and how to deal with these emergencies. There are Paediatric courses that have their own qualification and are run slightly different, these are recognised courses with their own certificate. |
|  | Administration of Medication in Schools Is there a Policy in place and have staff had training? | YES |  |  | Information: Administration of Medication in Schools; Schools and early years settings must have a policy and procedures in place for the administration of medication to children and young people. This course contains statutory and non-statutory guidance on the operation of such a system and the responsibilities of staff and parents. |
|  | First aid boxes in appropriate places and maintained no unapproved content (medicines etc.)? | YES |  |  | The first aid boxes are located all over school. There are first aid stations with boxes for logging accidents. Schools nominated responsible person checks to ensure all first aid equipment is in date. There is no defibrillator located on site, recommend you find out the location of the nearest one and ensure key staff members are aware of it. |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
|  | Accident records kept locally and monitored for trends? | YES |  |  | Accident/Incident records, including accident book entries and RIDDOR notifications will be retained for 3 & 5 years from the date of the last entry (or, if the accident involves a child/ young adult, then until that person reaches the age of 21). |
|  | Have all accidents to employees and significant incidents to pupils / visitors been reported correctly? | YES |  |  | Arbor school MIS suite used, Accident forms links are used for staff and visitors, with children’s accidents also being logged through Scholarpack. All data is held on Safeguarding SharePoint. |
|  | Are governors notified of any significant accidents, such as those that are RIDDOR reportable and ensured that an appropriate investigation has taken place? | YES |  |  | RIDDOR reporting, if any accident has met the RIDDOR criteria. The last RIDDORs was regarding Asbestos. Asbestos management survey, under the control of Heather Fellows, this has been reported as a RIDDOR. |
| communication | Is there a system whereby all defects found with equipment / plant /premises are notified to management and taken out of service? | YES |  |  | Defect reporting is in the online defects book link available on all school computers. Action: Teachers will carry out annual classroom inspections at the start of academic year as a proactive approach; This is in the process of being completed (09/2024-03/2025) and Heather will forward to MBHS once completed for a review and completion of an action plan. |
|  | Is health and safety a standing agenda item at relevant governing body committee meetings? | YES |  |  | Governors and Head teacher termly meetings, staff meetings take place to discuss health and safety as and when applicable. |
|  | Are there formal arrangements in place to discuss health & safety matters with other users/groups/other occupants of the site? E.g. Children’s Centre. | YES |  |  | All after school activities are carried out with external groups meeting are in place to discuss safety policies along with relevant requirements for insurance and risk assessments. Advised by Heather, appropriate documentation is in place, and they are aware of what to do in the event of an Emergency. |
| training | All staff health and safety training needs are assessed? | YES |  |  | This is being completed online for a variety of subjects driven by Heather. Ongoing action |
|  | All health and safety training recorded and available to view? |  | TBC |  | Training is carried out periodically where applicable to Employees. Action: The Headteacher and Heather to review training and refresher training as applicable. – ongoing - Manual handling, - Working at Height - CoSHH It was discussed with Heather that the Head teachers now lead with toolbox talks – this will cover manual handling, working at height and COSHH as well as other risk as required, currently this was not being recorded. Action: It was agreed that this training need to be recorded and evidenced that staff have received suitable and sufficient training – this should be done for all staff training. - Fire Marshal: ongoing annual refresher organised by the Head teacher. - Fire Awareness (Completed) Via SSS training Oct 2024 |
|  | Have all staff received an effective and documented health and safety induction? | YES |  |  | Employee H&S Inductions process has been reviewed and updated by Heather; this is now in the form of a digital link. All new staff receive an induction email from Heather, and all new starters receive H&S training within the first month of joining which is managed by the Head teacher as applicable This includes links to the forms and Key personnel |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| plant/ tools & equipment working at height | Has training and instruction been given to relevant members of staff in the safe use of tools & equipment (including ladders and mobile tower scaffolds)? | YES |  |  | Contractors are appointed for work carried out at the school. Malvern caterers appointed person has received Fire Awareness training. Fire procedures are also discussed on induction. Heather and the headteacher has control of the Estates team training and is scheduling in training or refresher training as applicable; this is ongoing due to persons leaving a new persons employed. Action: Heather and the Headteacher will review both the induction training for new team members and refresher training for the Estates team, as some staff are currently overdue - Ladder and step ladder training completed. RB Outstanding – TD Outstanding - Ladder’s inspection, Estates team QR coded and tagged - Manual Handling RC-01/2023- RB- 04/2024 TD – 04/2024 - PAT testing, PM - Legionella Awareness Estates team (Completed) PM-10/01/2023 - RC-01/2023 RB- 28/01/2024 TD - Outstanding - Asbestos Awareness Estates team (Completed) PM-19/09/2022- RC-01/2023- RB -25/01/2024 TD 18/01/2024. - CoSHH training RC-27/01/2023- RB Outstanding TD Outstanding - Fire awareness training completed. PM-09/2023- RC-09/2023- RB 11/2023- TC 01/2024 - Marshal training this is to be reviewed - Outdoor Play Inspector qualification’ – RP11 - this is to be reviewed - Pasma training PM scaffold training -03/03/2023 RC – 09/2023 - Violence and aggression training PM- 01/2023- RC-01/2023 RB 13/02/2023 - Electrical Safety RB- 10/10/2023 TD 18/01/2024 |
|  | Have Work at height risk assessments been conducted? | YES |  |  | It was agreed with Heather that the Work at height risk assessment be reviewed in June 2025 with the whole MET risk assessment review, once finalised with MBHS and Heather, all applicable staff once read and understand the Hazards and control measure in place, should sign to state this, these will be placed onto the Share point |
|  | Is a Ladder register and checklist in place and reviewed termly? | YES |  |  | As above, however changing light bulbs would be completed in-house, ladder checklist completed ladders have QR codes and are tagged |
| power tools | Is there any significant use of power tools / machinery? If so a register of such equipment should be in place which identifies if there are there any significant safety issues to consider, (Noise and vibration levels, guards that should be in place, PPE required, maintenance or training / instruction required)? | YES |  |  | Estates Team, Caretaker / Activities Use of General tools, hand held Tools and equipment completed 03/2023 Low usage for the Estates team. Review of risk assessments to be completed 2025 Action: A review of all estates teams tools to take place and an itemised inventory created to assist with the risk assessment process. |
| Fixed systems planned maintenance | Planned preventative maintenance schedule in place for all plant / equipment? | YES |  |  | - Emergency lighting annual test 5/04/2024 - Fixed electrical Installations tested 30/12/2020 – next due 12/2025. - Kitchen Gas catering equipment 12/04/2024 - Extraction Deep Clean cleaning date 07/09/2024 - Gas boiler /Heating 12/04/2024 Spa Gas - Gas Soundness inspection Gas test 12/04/2024 Spa Gas - Water Heaters 12/04/2024. Spa Gas - TMV failsafe, 12/04/2024 Spa Gas - Aquaid, annually 19/09/2024 - Fire extinguishers / Fire blankets serviced 05/04/2024 - Fire Panel 6 monthly service 24/10/2024. - Smoke/Heat detectors annual service 24/10/2024. - Carbon monoxide sensor to be placed by every fuel source. - Portable appliance testing 08/2024 staff inhouse trained - Stage light sound system serviced 24/05/2024. - Projectors 01/07/2024 - Intruder Alarm by Crime Stop 30/12/2024 - Asbestos management survey, under the control of Heather Fellows, Asbestos management plan in place completed by Asbestos consultant Russell Ellis M&D group Midlands – September 2024 review. |

|  |  | Y | N |  | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- | --- |
| WA17 CFZ minibus 17-Seater | List of nominated minibus drivers maintained, and training conducted? | YES |  |  |  | Drivers Policy is in place has been reviewed by Heather as of April 2024. The Minibus is a shared minibus for the MET group based at Honeywell and as such requires relevant staff to be trained accordingly. Appointed staff carry out the local authority mini-Bus training by the Local Authority. Minibus safety checks are completed termly by Malvern motor services. MOT dates 29/10/2024 – 29/10/2025 The school office staff carry out annual driving licence checks. Information: The changes were made to The Highway Code on Saturday 29 January 2022. Full updates to the Highway code can be found on the link https://www.gov.uk/government/news/the-highway-code-8-changes-you-need-to-know-from-29-january-2022 |
| minibuses | Service inspections and checks-MOT annually | YES |  |  |  | Pre-use checks carried out by the driver. Monthly checks are completed by Paul Mirrell. Minibus safety check termly, certificate is in place. MOT service date 29/10/2024 – 29/10/2025 |
| CoSHH/ hazardous substances | Inventory of chemicals (e.g. cleaning and maintenance products) and safety data sheets available and reviewed in last 12 months? | YES |  |  |  | The chemicals material safety data sheets are in a CoSHH folder. |
|  | Have substances identified as presenting a significant risk (for example, swimming pool chemicals) had a COSHH risk assessment conducted? | YES |  |  |  | Action: CoSHH Risk assessments are to be reviewed. All chemicals that are in place make a list and supply MBHS with the MSDS Material safety data sheet. MBHS will then complete the CoSHH risk assessments and an action plan as necessary. Heather working on a pick list of approved chemicals and will be raised at Heads meeting for approval. It was agreed that this needs to be completed as soon as possible |
|  | Are hazardous substances stored appropriately e.g., secured out of the reach of children? | YES |  |  |  | CS Cleaners ensure these are locked away in a storeroom |
| electrical | Portable electrical appliances tested by a competent according to relevant timescales? | YES |  |  |  | This is completed inhouse testing via Estates Team June – August 2024 |
|  | All emergency shut offs accessible, clearly identified and functioning? | YES |  |  |  | Emergency shut off valves are located in the plant rooms and are clearly marked. |
|  | Fixed electrical wiring inspected within last 5 years and all remedial actions completed? | YES |  |  |  | Fixed Electrical installations was completed 30/12/2020 was deemed unsatisfactory by AJ Taylor, remedial actions have been completed, Confirmed by Heather advisory actions are not completed at this stage. |
| gas | All gas appliances tested in past 12 months by gas safe registered contractor. | YES |  |  |  | Date of the last tests: - Kitchen Gas catering equipment 12/04/2024 by Spa Gas - Gas boiler /Heating 12/04/2024 by Spa Gas - Gas Soundness inspection Gas 12/04/2024 - Carbon monoxide sensor are in place. - Servicing of the Water Heaters 12/04/2024 - TMV failsafe 12/04/2024 - Extraction Deep Clean cleaning date 07/09/2024 |
| contractors | When awarding contracts health and safety is included in specifications and contract conditions? | YES |  |  |  | Heather is in control and oversees approved contractor list. Heather is aware of what contractors must provide and ensures all documentation is up to date and provided. Control of approved contractors prior to any work being undertaken at the school, is to be reviewed. All outside contractors must complete all required documents RAMS and provide all necessary hot work permits. prior to any work commencing. Many serious fires occur during building and maintenance work. This type of activity can increase the risk of fire and therefore, needs to be carefully monitored and controlled. Extra fire precautions may be needed. Remember when contractors are working on the premises, they become your responsibility. It is recommended for the contractor to provide method statements and the client to ensure a responsible person supervises and controls during the scheduled works. While contractors are on site they should be constantly and regularly monitored to ensure that they are complying with the agreed working practices resulting from their own method statements and dynamic risk assessments. Ensure they are not compromising safety in any other way. |
| Welfare | Finger guards in place on vulnerable doors i.e. Toilet & classrooms in nursery, KS1 and special schools? | YES |  |  |  | Finger guards are in place, visual inspections are made, no further actions at this point are required. |
|  |  | Y |  | N | N/A | COMMENTS |
| DSE | All DSE (computer) users identified, and workstations assessed? | YES |  |  |  | The office staff complete DSE self-assessments forms that are available via online Soonr folder section 2 then 2.4. The Head of Dept. review periodically to ensure new staff have completed the DSE form, confirmed by Heather that the latest review of DSE to be rolled out April 2025 with the actions to be sent to MBHS for review. Action: DSE assessment sheet to be sent to MBHS for review and the assistance in creating an action plan. |
| Catering Catering | Any outstanding items from the last EHO report for the school kitchen? | YES |  |  |  | Date of the report: Malvern Caterers are the registered Food Business Operators (FBO) they have been inspected by the local authority; five stars awarded on the 5th of March 2020 |
|  | Hazard areas (kitchen, labs, workshops etc.) locked when unsupervised? | YES |  |  |  | The Extraction Deep clean 07/09/2024 Hood filters are cleaned periodically in house. Main kitchen ventilation extraction Deep Cleaning will remove one of the most common causes of fire within the kitchen. Ducting. A Cleaning Certificate is evidence to show you have acted to minimise the fire risks from the build-up of grease in your extraction system, this also assists to ensure you are complaint you are your insurance company. |
|  | Do catering providers have a food safety management system complaint with HACPP (hazard analysis and critical control point)? | YES |  |  |  | Contracted catering company are registered as the FBO and are responsible for all documentation. I understand they use SFBB |

|  |  | Y | N |  | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- | --- |
| asbestos survey | Is the asbestos permission to work system used on every occasion before any work is conducted on building fabric? (This applies equally to the site team / Site Manager as to contractors) | YES |  |  |  | Asbestos management survey, I understand from Heather, a new contractor appointed has taken over asbestos systems, updating the management plan, reviewing registers. This is Asbestos Consultant Russ Ellis from the M&D group Midlands. Asbestos management plan completed 09/2024 |
|  | Asbestos visual inspection completed (minimum of annually) and recorded in asbestos log? | YES |  |  |  | At present, Heather completes this annually |
| asbestos management | Is there a management plan in place is it up to date | YES |  |  |  |  |
|  | Is there a letter of appointment present in the plan | YES |  |  |  |  |
|  | Is the adequate delegation of responsibilities | YES |  |  |  | In the plan |
| asbestos training | Has the person who manages asbestos had training | YES |  |  |  | Heather is UKATA Asbestos trained this has now been appointed to asbestos consultant Russ Ellis from the M&D group Midlands RC- 01/2023 PM – 19/09/2024 RB- 25/01/2023 TD – 18/1/2024 It was discussed that asbestos training be completed every 2 years. Action: New Caretaker David Sample, training to be completed as soon as possible. |
|  | Are training certificates present | YES |  |  |  | Records of all training is under the control of Heather |
|  | Are Staff aware of where the Asbestos Containing Materials (ACMs) are, | YES |  |  |  | Advised by Heather, applicable personnel have general awareness regarding where abouts of ACMs. Confirmed by Heather, all contactors read and sign the asbestos register – School office aware to ensure the above is adhered to. Heather has also had site specific training with new cleaning company on Asbestos awareness at Honeywell |
|  |  | Y |  | N | N/A | COMMENTS / ACTIONS NEEDED |  |
| legionella risk assessment | Water risk assessment conducted, and operational controls being recorded in waterlog book? | YES |  |  |  | Last legionella risk assessment 01/2025 by Ravenscroft. Action: Once Heather has reviewed legionella documentation for actions and remedials, then agreed that a copy would be sent to MBHS for review The Legionella risk assessment should be reviewed if a) significant changes to the system have been made, b) if monitoring indicates that the system is going out of control or c) if the system is associated with an outbreak of Legionnaires Disease. |  |
|  | Is there a Legionella management plan in place | YES |  |  |  | Documented plan, completed by Heather |  |
| legionella management | Are adequate responsibilities delegated? | YES |  |  |  |  |  |
|  | Is there a letter of authorisation | YES |  |  |  | This is in the management plan |  |
| Legionella training | Has training been given | YES |  |  |  | Estates team have now had training, including the Head teacher who has also received Legionella awareness training. |  |
|  | Are the certificates present | YES |  |  |  | Heather keeps these on the training portal |  |
| Monthly checks | Are these conducted and signed for | YES |  |  |  | Monitoring of hot & cold outlets temperature checks are carried out monthly and documented. Weekly flushing of systems is completed. |  |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| housekeeping | Housekeeping satisfactory? | YES |  |  | Good housekeeping is fundamental to reducing risk in any school. Controlling the presence of combustible materials and ignition sources not only reduces the potential for accidental fires to start it also significantly reduces the scope for deliberate fires. A ‘zero tolerance’ approach should be in place to ensure the communal parts are not used to store combustible materials or rubbish. No exceptions must apply. It would ensure that the communal parts are effectively ‘sterile’ i.e. free of combustible material, ignition sources and obstructions. The alternative is ‘managed use.’ This approach allows strictly defined use of communal parts and limits the items allowed, to control fire load and ease of ignition. A discussion regarding housekeeping with Heather fellows and the school management team was completed. |
|  | Is flooring in good condition and free of slip / trip hazards? | YES |  |  | Any areas that are identified as a tripping hazard would be reported onto the online defects register. |
|  | Are items that are stored at height (e.g. files/folders on shelves) accessible, secure and safe? | YES |  |  |  |
|  | Are boiler rooms and electrical intake areas kept free of combustible materials? | YES |  |  | As per your last Fire Risk Assessmnet; The small fuse room opposite the Estates team office has a large amount of combustible shredding that requires removal. Heather has communicated to the school, and everyone is aware that these areas should be free from combustible materials. |
| external areas | Pedestrian routes clearly defined and segregated from vehicles? Risk assessment in place? | YES |  |  |  |
|  | Maintenance adequate where children play | Yes |  |  | Outdoor play equipment inspection completed by Wickstead 12/11/2024 – low risk remedials noted PE Sports Safe 02/12/2024 – low risk remedials noted Confirmed by Heather that the remedials are all low risk and will be addressed by the Head teacher and Caretaker. |
|  | Tree survey conducted? | YES |  |  | New Tree survey quotes are being obtained by Heather Fellows for the MET academies Action: Once a tree survey has been conducted, a copy of the report to be sent to MBHS for review. |
|  | Adequate access maintained for emergency services? | YES |  |  | Good procedures are in place. |
|  | External lighting adequate? | YES |  |  | Timed lighting in place. |
|  | External areas accessible and free from obstruction | YES |  |  |  |
| external areas | Pond gated and signed and forest school | YES |  |  | Signage is in place. Gate is kept locked, fence has been repaired Forest school / outside learning risk assessment has not been received by Heather from the Head and is under review at the time of audit. Once Heather has confirmed it please send to MBHS for review and filing. |

|  |  | Y | N | N/A | COMMENTS / ACTIONS NEEDED |
| --- | --- | --- | --- | --- | --- |
| security / safeguarding | Clear signage directing visitors to reception / other services on site? | YES |  |  | Electronic sign in procedures in place with photo ID |
|  | Visitor access to buildings adequately controlled? | YES |  |  | Buzzer entry and Paxton system in place, visitors are controlled whilst on site |
|  | Where visitors can gain access to pupils, e.g. playgrounds there is a risk assessment in place which demonstrates that there is effective supervision? | YES |  |  | Risk assessments review to be completed 06/2025 Once the risk assessments are finalised these are to be brought to the attention of all staff. Once read and understood they should sign to state this |
|  | Gates and perimeter fencing of adequate height and maintained? | YES |  |  | The perimeter railings well maintained Height approximately 2 Meters |
|  | Access to low roofs restricted? (Any anti-climb paint/ anti-scale devices clearly signed) | YES |  |  | Confirmed by Heather there is fragile roof signage on outer walls where people may gain both legal and illegal access on to roofs. |
|  | External storage / waste bins secured and located away from buildings? | YES |  |  | Located within a caged area. |

| Reference | Action Required: | Person (s) Responsible | Target Date | Date Completed |
| --- | --- | --- | --- | --- |
| Risk assessments | A full review of all risk assessments has been agreed to be being completed June 2025 with MBHS and Heather Going forward, the management review will be annually, and then all staff will read and sign on a three-yearly cycle. | Head Teacher & Heather Fellows Assisted by MBHS | 3 Months |  |
| Fire | The Fire risk assessment action plan continues being actioned signed and dated, and to be emailed back to MBHS for review and filing once completed. Heather and the caretaker are going through and signing off any additional actions that are on the defects register | Head Teacher & Heather Fellows | Ongoing |  |
| Fire Drills | Continuity Plan is now in a digital format online with access available to all staff, the critical incident plan is being reviewed by the school`s Head teacher and is awaiting some additional information to be completed. Heather to advise MBHS upon completion | Governors & the Health and Safety management team | ASAP |  |
| First Aid | Staff trained in First Aid: -Action: There was no evidence at the time of audit for the numbers of trained First Aiders. The school are to confirm sufficient numbers of first aiders have been trained or refresher training completed as applicable | Head Teacher & Heather Fellows | 1 Month |  |
| Communication | Teachers will carry out annual classroom inspections at the start of academic year as a proactive approach; This is in the process of being completed (09/2024-03/2025) and Heather will forward to MBHS once completed for a review and completion of an action plan. | Head Teacher & Heather Fellows | 1 Months |  |
| Training | The Headteacher and Heather and to review training and refresher training as applicable. – ongoing - Manual handling, - Working at Height - CoSHH It was discussed with Heather that the Head teachers now lead with toolbox talks – this will cover manual handling, working at height and COSHH as well as other risk as required, currently this was not being recorded. Action: It was agreed that this training need to be recorded and evidenced that staff have received suitable and sufficient training – this should be done for all staff training. Action: New Caretaker David Sample, training to be completed as soon as possible. | Head Teacher & Heather Fellows | 3 Months |  |
| Plant, Tools and Equipment | Heather and the headteacher has control of the Estates team training and is scheduling in training or refresher training as applicable; this is ongoing due to persons leaving a new persons employed. Action: Heather and the Headteacher will review both the induction training for new team members and refresher training for the Estates team, as some staff are currently overdue | Head Teacher & Heather Fellows | 3 Months |  |
| Plant, Tools and Equipment | A review of all estates teams tools to take place and an itemised inventory created to assist with the risk assessment process. | Head Teacher & Heather Fellows | 3 Months |  |
| Hazardous Substances | CoSHH Risk assessments are to be reviewed. All chemicals that are in place make a list and supply MBHS with the MSDS Material safety data sheet. MBHS will then complete the CoSHH risk assessments and an action plan as necessary. Heather working on a pick list of approved chemicals and will be raised at Heads meeting for approval. It was agreed that this needs to be completed as soon as possible | Heather Fellows Assisted by MBHS | 3 Months |  |
| DSE | Confirmed by Heather that the latest review of DSE to be rolled out April 2025 with the actions to be sent to MBHS for review. Action: DSE assessment sheet to be sent to MBHS for review and the assistance in creating an action plan. | Head Teacher & Heather Fellows | 1 Month |  |
| Legionella | Last legionella risk assessment 01/2025 by Ravenscroft. Action: Once Heather has reviewed legionella documentation for actions and remedials, then agreed that a copy would be sent to MBHS for review | Heather Fellows | 1 Month |  |
| External Areas | New Tree survey quotes are being obtained by Heather Fellows for the MET academies Action: Once a tree survey has been conducted, a copy of the report to be sent to MBHS for review. | Heather Fellows | 3 Months |  |

Thank you very much for allowing MBHS to audit your premises, if you have any questions, please do contact me either by email,

Email: jaddison@mb-hs.com or Mobile: 07507 720968

Kind Regards John Addison MB Health and Safety Advisor

07507720968

| Audit completed by: | John Addison | Position: | Health and Safety Advisor |
| --- | --- | --- | --- |
| Received by: |  | Date: |  |